## CH4
Sample Date | Sample Name | Time | CH4 Area Curve | Concentration | Sample Volume (mL) | N2/Air Volume (mL) | Dilution Factor | Corrected Concentration | Notes
2016-07-24 | ID_UP | not listed | 1366 | 206.2509 | 10 |  | 1 | 206.2509 | Samples appear to have been run on range 1, |  | Standards |  | Peak Areas | ppm CH4
2015-07-24 | SMD_DOWN | not listed | 428 | 64.6233 | 10 |  | 1 | 64.6233 | stds appear to have been on 10^2 |  | 1000 | 1 | 6569 | 6623 | Peak Avg
2014-07-24 | SMD_UP | not listed | 1058 | 159.7463 | 10 |  | 1 | 159.7463 | notes are not clear…. |  | ipsch4.d | 2 | 6559 | 35.6246 | Std Dev
2013-07-24 | ID | not listed | 2811 | 424.43 | 10 |  | 1 | 424.43 |  |  | RANGE= | 3 | 6611 | 0.0053789 | %Std Dev
2012-07-24 | MR | not listed | 43210 | 6524.2337 | 10 |  | 1 | 6524.2337 |  |  | 10^2 | 4 | 6618
2011-07-24 | SMD | not listed | 1853 | 279.7826 | 10 |  | 1 | 279.7826 |  |  |  | 5 | 6617 | 0.15099 | Response Factor
[12 empty] | 6 | 6653
[12 empty] | 7 | 6641
[12 empty] | 8 | 6654
[12 empty] | 9 | 6661
[12 empty] | 10 | 6647
2015-08-07 | SMD | not listed | 6427 | 0 | 10 |  | 1 | 0 | Standard ppm unknown |  | Standards |  | Peak Areas | ppm CH4
2015-08-07 | SMD_DOWN | not listed | 3143 | 0 | 10 |  | 1 | 0 | range unknown |  |  | 1 | 3733958 | 3778509.1 | Peak Avg
2015-08-07 | SMD_UP | not listed | 9166 | 0 | 10 |  | 1 | 0 | all std peaks are flat…. |  | ipsch4.d | 2 | 3734499 | 54511.9586 | Std Dev
2015-08-07 | ID_UP | not listed | 14686 | 0 | 10 |  | 1 | 0 |  |  | RANGE= | 3 | 3736550 | 0.014427 | %Std Dev
2015-08-07 | ID | not listed | 13734 | 0 | 10 |  | 1 | 0 |  |  |  | 4 | 3736783
2015-08-07 | MR | not listed | 25147 | 0 | 10 |  | 1 | 0 |  |  |  | 5 | 3737454 | 0 | Response Factor
[12 empty] | 6 | 3738538
[12 empty] | 7 | 3841214
[12 empty] | 8 | 3841710
[12 empty] | 9 | 3842050
[12 empty] | 10 | 3842335
2015-10-02 | SMD_SIDE | 10:45 | 8626 | 13.781 | 10 | 0 | 1 | 13.781 |  |  | Standards |  | Peak Areas | ppm CH4
2015-10-02 | SMD_OUT | 12:00 | 4920 | 7.8602 | 10 | 0 | 1 | 7.8602 |  |  | 2.51 | 1 | 1544 | 1571.1 | Peak Avg
2015-10-02 | SMD_DOWN | 12:30 | 2447 | 3.9093 | 10 | 0 | 1 | 3.9093 |  |  | ipsch4.d | 2 | 1543 | 41.9218 | Std Dev
2015-10-02 | SMD_UP | 13:00 | 4769 | 7.619 | 10 | 0 | 1 | 7.619 |  |  | RANGE= | 3 | 1544 | 0.026683 | %Std Dev
2015-10-02 | ID_UP | 13:50 | 3873 | 6.1875 | 10 | 0 | 1 | 6.1875 |  |  | 1 | 4 | 1542
2015-10-02 | ID | 14:10 | 3356 | 5.3616 | 10 | 0 | 1 | 5.3616 |  |  |  | 5 | 1546 | 0.0015976 | Response Factor
2015-10-02 | MR | 14:25 | 6419 | 10.255 | 10 | 0 | 1 | 10.255 |  |  |  | 6 | 1643
2015-10-02 | CBP_OUT | 15:15 | 24692 | 39.4481 | 10 | 0 | 1 | 39.4481 |  |  |  | 7 | 1653
2015-10-02 | BP_SIDE | 15:30 | 13722 | 21.9224 | 10 | 0 | 1 | 21.9224 |  |  |  | 8 | 1557
2015-10-02 | CCBP_UP2 | 15:55 | 57806 | 92.3513 | 10 | 0 | 1 | 92.3513 |  |  |  | 9 | 1570
2015-10-02 | CCBP_UP1 | 16:05 | 19027 | 30.3977 | 10 | 0 | 1 | 30.3977 |  |  |  | 10 | 1569
2015-10-02 | CC | 16:25 | 4255 | 6.7978 | 10 | 0 | 1 | 6.7978
[11 empty] | Standards |  | Peak Areas | ppm CH4
2015-10-14 | CCBP_OUT | 10:45 | 31586 | 50.462 | 10 | 0 | 1 | 50.462 |  |  | 2.51 | 1 | 1544 | 1571.1 | Peak Avg
2015-10-14 | CCBP_SIDE | 11:15 | 26012 | 41.5569 | 5 | 5 | 2 | 83.1139 |  |  | ipsch4.d | 2 | 1543 | 41.9218 | Std Dev
2015-10-14 | CCBP_UP_3 | 11:30 | 3770 | 6.023 | 10 | 0 | 1 | 6.023 |  |  | RANGE= | 3 | 1544 | 0.026683 | %Std Dev
2015-10-14 | CCBP_UP_2 | 11:45 | 24266 | 38.7675 | 5 | 5 | 2 | 77.5351 |  |  | 1 | 4 | 1542
2015-10-14 | CCBP_UP_1 | 12:00 | 17352 | 27.7217 | 10 | 0 | 1 | 27.7217 |  |  |  | 5 | 1546 | 0.0015976 | Response Factor
2015-10-14 | CC | 12:15 | 5085 | 8.1238 | 10 | 0 | 1 | 8.1238 |  |  |  | 6 | 1643
2015-10-14 | SMD_SIDE | 13:15 | 19508 | 31.1661 | 10 | 0 | 1 | 31.1661 |  |  |  | 7 | 1653
2015-10-14 | SMD_OUT | 14:45 | 7882 | 12.5923 | 10 | 0 | 1 | 12.5923 |  |  |  | 8 | 1557
2015-10-14 | SMD_DOWN | 15:00 | 3220 | 5.1443 | 10 | 0 | 1 | 5.1443 |  |  |  | 9 | 1570
2015-10-14 | SMD_UP | 15:15 | 10022 | 16.0112 | 10 | 0 | 1 | 16.0112 |  |  |  | 10 | 1569
2015-10-14 | ID_UP | 16:10 | 4381 | 6.9991 | 10 | 0 |  | 0
2015-10-14 | ID | 16:30 | 7782 | 12.4326 | 10 | 0 | 1 | 12.4326
2015-10-14 | MR | 16:45 | 10115 | 16.1598 | 10 | 0 | 1 | 16.1598
2015-11-03 | CBP_OUT | 10:00 | 137535 | 221.5317 | 10 | 0 | 1 | 221.5317 |  |  | Standards |  | Peak Areas | ppm CH4
2015-11-03 | BP_SIDE | 10:15 | 31893 | 51.371 | 10 | 5 | 1.5 | 77.0565 |  |  | 2.51 | 1 | 1463 | 1558.3 | Peak Avg
2015-11-03 | CCBP_UP3 | 10:30 | 6665 | 10.7355 | 10 | 0 | 1 | 10.7355 |  |  | ipsch4.d | 2 | 1517 | 80.7108 | Std Dev
2015-11-03 | CCBP_UP2 | 10:45 | 978031 | 1575.3435 | 10 | 5 | 1.5 | 2363.0153 |  |  | RANGE= | 3 | 1566 | 0.051794 | %Std Dev
2015-11-03 | CCBP_UP1 | 10:55 | 23056 | 37.137 | 10 | 0 | 1 | 37.137 |  |  | 1 | 4 | 1516
2015-11-03 | CC | 11:15 | 5855 | 9.4308 | 10 | 0 | 1 | 9.4308 |  |  |  | 5 | 1588 | 0.0016107 | Response Factor
2015-11-03 | SMD_SIDE | 12:15 | 293827 | 473.2759 | 10 | 0 | 1 | 473.2759 |  |  |  | 6 | 1527
2015-11-03 | SMD_OUT | 12:35 | 12249 | 19.7298 | 10 | 0 | 1 | 19.7298 |  |  |  | 7 | 1500
2015-11-03 | SMD_DOWN | 12:50 | 3776 | 6.0821 | 10 | 0 | 1 | 6.0821 |  |  |  | 8 | 1681
2015-11-03 | SMD_UP | 13:15 | 7328 | 11.8034 | 10 | 0 | 1 | 11.8034 |  |  |  | 9 | 1712
2015-11-03 | ID_UP | 14:10 | 8705 | 14.0214 | 10 | 0 | 1 | 14.0214 |  |  |  | 10 | 1513
2015-11-03 | ID | 14:40 | 12182 | 19.6219 | 10 | 0 | 1 | 19.6219
2015-11-03 | MR | 14:55 | 12032 | 19.3803 | 10 | 0 | 1 | 19.3803
2015-11-18 | CBP_OUT | 10:15 | 20508 | 30.3258 | 10 | 0 | 1 | 30.3258 |  |  | Standards |  | Peak Areas | ppm CH4
2015-11-18 | BP_SIDE | 10:30 | 29726 | 43.9568 | 10 | 0 | 1 | 43.9568 |  |  | 2.51 | 1 | 2004 | 1697.4 | Peak Avg
2015-11-18 | CCBP_UP3 | 10:45 | 3660 | 5.4122 | 10 | 0 | 1 | 5.4122 |  |  | ipsch4.d | 2 | 1940 | 146.5001 | Std Dev
2015-11-18 | CCBP_UP2 | 11:00 | 73224 | 108.2787 | 10 | 0 | 1 | 108.2787 |  |  | RANGE= | 3 | 1641 | 0.086309 | %Std Dev
2015-11-18 | CCBP_UP1 | 11:10 | 19510 | 28.8501 | 10 | 0 | 1 | 28.8501 |  |  | 1 | 4 | 1634
2015-11-18 | CC | 11:25 | 4552 | 6.7312 | 10 | 0 | 1 | 6.7312 |  |  |  | 5 | 1619 | 0.0014787 | Response Factor
2015-11-18 | SMD_SIDE | 12:25 | 74084 | 109.5504 | 10 | 0 | 1 | 109.5504 |  |  |  | 6 | 1652
2015-11-18 | SMD_OUT | 13:35 | 5950 | 8.7985 | 10 | 0 | 1 | 8.7985 |  |  |  | 7 | 1647
2015-11-18 | SMD_DOWN | 12:55 | 3184 | 4.7083 | 10 | 0 | 1 | 4.7083 |  |  |  | 8 | 1619
2015-11-18 | SMD_UP | 13:15 | 8554 | 12.6491 | 10 | 0 | 1 | 12.6491 |  |  |  | 9 | 1592
2015-11-18 | ID_UP | 14:05 | 3819 | 5.6473 | 10 | 0 | 1 | 5.6473 |  |  |  | 10 | 1626
2015-11-18 | ID | 14:40 | 4770 | 7.0536 | 10 | 0 | 1 | 7.0536
2015-11-18 | MR | 14:55 | 8834 | 13.0631 | 10 | 0 | 1 | 13.0631
2016-03-09 | CCBP_OUT | 9:30 | 18951 | #VALUE! | 10 | 0 | 1 | #VALUE! |  |  | Standards |  | Peak Areas | ppm CH4
2016-03-09 | CCBP_SIDE | 9:45 | 18598 | #VALUE! | 3 | 7 | 3.3333 | #VALUE! |  |  | 2.51 | 1 | 1858 | 1848.8 | Peak Avg
2016-03-09 | CCBP_UP_2 | 10:15 | 2987 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  | ipsch4.d | 2 | 1842 | 6.4083 | Std Dev
2016-03-09 | CCBP_UP_3 | 10:05 | 8586 | #VALUE! | 3 | 7 | 3.3333 | #VALUE! |  |  | RANGE= | 3 | 1848 | 0.0034662 | %Std Dev
2016-03-09 | CCBP_UP_1 | 10:20 | 11942 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  | 1 | 4 | 1842
2016-03-09 | CC | 10:45 | 2664 | #VALUE! | 6 | 4 | 1.6667 | #VALUE! |  |  |  | 5 | 1845 |  | Response Factor
2016-03-09 | PD | 11:05 | 2893 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  |  | 6 | 1847
2016-03-09 | WB | 11:20 | 5305 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  |  | 7 | 1861
2016-03-09 | PD_UP | 11:30 | 1313 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  |  | 8 | 1845
2016-03-09 | SMD_SIDE | 12:30 | 11599 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  |  | 9 | 1848
2016-03-09 | SMD_OUT | 12:45 | 2850 | #VALUE! | 5 | 5 | 2 | #VALUE! |  |  |  | 10 | 1852
2016-03-09 | SMD_DOWN | 13:20 | 1756 | #VALUE! | 5 | 5 | 2 | #VALUE!
2016-03-09 | SMD_UP | 13:45 | 2256 | #VALUE! | 5 | 5 | 2 | #VALUE!
2016-03-09 | ID_UP | 14:35 | 3480 | #VALUE! | 10 | 0 | 1 | #VALUE!
2016-03-09 | ID | 15:00 | 3452 | #VALUE! | 10 | 0 | 1 | #VALUE!
2016-03-09 | MR | 15:15 | 4558 | #VALUE! | 10 | 0 | 1 | #VALUE!
Range
2016-06-09 | CCBP_OUT | 9:50 | 1488 | 0.45398 | 10 | 0 | 1 | 0.45398 |  | 10 | Standards |  | Peak Areas | ppm CH4
2016-06-09 | CCBP_SIDE | 10:05 | 9343 | 2.8505 | 10 | 0 | 1 | 2.8505 |  | 10 | 2.51 | 1 | 8169 | 8226.9 | Peak Avg
2016-06-09 | CCBP_UP_2 | 10:45 | 47742 | 14.5659 | 10 | 0 | 1 | 14.5659 |  | 10 | ipsch4.d | 2 | 8169 | 51.477 | Std Dev
2016-06-09 | CCBP_UP_3 | 10:25 | 3347 | 1.0212 | 10 | 0 | 1 | 1.0212 |  | 10 | RANGE= | 3 | 8168 | 0.0062572 | %Std Dev
2016-06-09 | CCBP_UP_1 | 11:00 | 7181 | 2.1909 | 10 | 0 | 1 | 2.1909 |  | 10 | 10 | 4 | 8167
2016-06-09 | CC | 11:20 | 2051 | 0.62575 | 10 | 0 | 1 | 0.62575 |  | 10 |  | 5 | 8278 | 0.0003051 | Response Factor
2016-06-09 | PD | 11:45 | 1314 | 0.4009 | 10 | 0 | 1 | 0.4009 |  | 10 |  | 6 | 8264
2016-06-09 | WB | 12:00 | 3335 | 1.0175 | 10 | 0 | 1 | 1.0175 |  | 10 |  | 7 | 8269
2016-06-09 | PD_UP | 12:15 | 1742 | 0.53148 | 10 | 0 | 1 | 0.53148 |  | 10 |  | 8 | 8254
2016-06-09 | SMD_SIDE | 13:30 | 10310 | 3.1455 | 10 | 0 | 1 | 3.1455 |  | 10 |  | 9 | 8248
2016-06-09 | SMD_OUT | 13:10 | 2556 | 0.77983 | 10 | 0 | 1 | 0.77983 |  | 10 |  | 10 | 8283
2016-06-09 | SMD_DOWN | 13:45 | 3061 | 0.9339 | 10 | 0 | 1 | 0.9339 | range=1 | 1
2016-06-09 | SMD_UP | 14:05 | 5417 | 1.6527 | 10 | 0 | 1 | 1.6527 | range=1 | 1
2016-06-09 | ID_UP | 15:05 | 970 | 0.29594 | 10 | 0 | 1 | 0.29594 |  | 10
2016-06-09 | ID | 15:45 | 17610 | 5.3728 | 10 | 0 | 1 | 5.3728 | range=1 | 1
2016-06-09 | MR | 16:00 | 9249 | 2.8218 | 10 | 0 | 1 | 2.8218 | range=1 | 1
2016-06-20 | SMD_POND_7_deep | 3:36 | 7573 | 928.5303 | 10 | 0 | 1 | 928.5303 |  |  | Standards |  | Peak Areas | ppm CH4
2016-06-20 | SMD_POND_3 | 13:42 | 1293 | 158.5355 | 10 | 0 | 1 | 158.5355 |  |  | 1000 | 1 | 8167 | 8155.9 | Peak Avg
2016-06-20 | SMD_OUT | 17:05 | 1877 | 230.1401 | 10 | 0 | 1 | 230.1401 |  |  | ipsch4.d | 2 | 8156 | 14.1221 | Std Dev
2016-06-20 | SMD_POND_6 | 15:10 | 1231 | 150.9337 | 10 | 0 | 1 | 150.9337 |  |  | RANGE=10 | 3 | 8162 | 0.0017315 | %Std Dev
2016-06-20 | SMD_POND_4 | 14:15 | 1107 | 135.73 | 10 | 0 | 1 | 135.73 |  |  |  | 4 | 8149
2016-06-20 | SMD_POND_5_deep | 14:50 | 350 | 42.9137 | 10 | 0 | 1 | 42.9137 |  |  |  | 5 | 8122 | 0.12261 | Response Factor
2016-06-20 | SMD_POND_5 | 14:45 | 1286 | 157.6773 | 10 | 0 | 1 | 157.6773 |  |  |  | 6 | 8171
2016-06-20 | SMD_UP | 11:40 | 1156 | 141.7379 | 10 | 0 | 1 | 141.7379 |  |  |  | 7 | 8162
2016-06-20 | SMD_POND_2_deep | 13:25 | 625 | 76.6316 | 10 | 0 | 1 | 76.6316 |  |  |  | 8 | 8162
2016-06-20 | SMD_POND_6_deep | 15:15 | 1845 | 226.2166 | 10 | 0 | 1 | 226.2166 |  |  |  | 9 | 8162
2016-06-20 | SMD_DOWN | 17:25 | 351 | 43.0363 | 10 | 0 | 1 | 43.0363 |  |  |  | 10 | 8146
2016-06-20 | SMD_POND_1 | 12:20 | 1126 | 138.0596 | 10 | 0 | 1 | 138.0596
2016-06-20 | SMD_POND_2 | 13:15 | 1711 | 209.7868 | 10 | 0 | 1 | 209.7868
2016-06-20 | SMD_POND_1_deep | 12:36 | 1255 | 153.8763 | 10 | 0 | 1 | 153.8763
2016-06-20 | SMD_POND_4_deep | 14:20 | 1446 | 177.295 | 10 | 0 | 1 | 177.295
|  |  |  | 0 | 10 | 0 | 1 | 0
2016-06-20 | SMD_POND_7_deep | 15:36 | 660 | 80.923 | 5 | 0 | 1 | 80.923 |  |  | Standards |  | Peak Areas | ppm CH4
2016-06-20 | SMD_POND_3_deep | 13:50 | 350 | 42.9137 | 7 | 0 | 1 | 42.9137 |  |  | 1000 | 1 | 8167 | 8155.9 | Peak Avg
2016-06-20 | SMD_POND_10 | 16:40 | 969 | 118.8097 | 10 | 0 | 1 | 118.8097 |  |  | ipsch4.d | 2 | 8156 | 14.1221 | Std Dev
2016-06-20 | SMD_POND_10_deep | 16:40 | 237 | 29.0587 | 10 | 0 | 1 | 29.0587 |  |  | RANGE=100 | 3 | 8162 | 0.0017315 | %Std Dev
2016-06-20 | SMD_POND_9_deep | 16:17 | 999 | 122.488 | 10 | 0 | 1 | 122.488 |  |  |  | 4 | 8149
2016-06-20 | SMD_POND_8 | 16:00 | 2505 | 307.1396 | 10 | 0 | 1 | 307.1396 |  |  |  | 5 | 8122 | 0.12261 | Response Factor
2016-06-20 | SMD_POND_7 | 15:30 | 674 | 82.6396 | 10 | 0 | 1 | 82.6396 |  |  |  | 6 | 8171
2016-06-20 | SMD_POND_9 | 16:17 | 1451 | 177.908 | 10 | 0 | 1 | 177.908 |  |  |  | 7 | 8162
2016-06-20 | SMD_POND_8_deep | 16:10 | 1119 | 137.2013 | 10 | 0 | 1 | 137.2013 |  |  |  | 8 | 8162
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0 |  |  |  | 9 | 8162
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0 |  |  |  | 10 | 8146
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0
2016-06-20 |  |  |  | 0 | 10 | 0 | 1 | 0
2016-07-06 | CCBP_OUT | 9:35
2016-07-06 | CCBP_1 | 10:00 | 20929 | 2579.2736 | 10 | 0 | 1 | 2579.2736 |  |  | Standards |  | Peak Areas | ppm CH4
2016-07-06 | CCBP_2 | 10:20 | 28657 | 3531.6663 | 10 | 0 | 1 | 3531.6663 |  |  | 1000 | 1 | 8087 | 8114.3 | Peak Avg
2016-07-06 | CCBP_3 | 10:45 | 18662 | 2299.8903 | 10 | 0 | 1 | 2299.8903 |  |  | ipsch4.d | 2 | 8080 | 44.4048 | Std Dev
2016-07-06 | CCBP_4 | 11:15 | 6317 | 778.5022 | 10 | 0 | 1 | 778.5022 |  |  | RANGE=10 | 3 | 8074 | 0.0054724 | %Std Dev
2016-07-06 | CCBP_UP_2 | 11:40 | 101848 | 12551.668 | 10 | 0 | 1 | 12551.668 |  |  |  | 4 | 8061
2016-07-06 | CCBP_5 | 12:00 | 2246 | 276.7953 | 10 | 0 | 1 | 276.7953 |  |  |  | 5 | 8158 | 0.12324 | Response Factor
2016-07-06 | CCBP_6 | 12:35 | 6294 | 775.6676 | 10 | 0 | 1 | 775.6676 |  |  |  | 6 | 8160
2016-07-06 | [11 empty] | 7 | 8161
2016-07-06 | [11 empty] | 8 | 8160
2016-07-06 | [11 empty] | 9 | 8138
2016-07-06 | [11 empty] | 10 | 8064
2016-07-06
2016-07-06
2016-07-06
2016-07-06
2016-07-06
2016-07-06
2016-07-20 | SMD_POND_1_deep | 10:55 | 261 | 32.6152 | 10 | 0 | 1 |  |  |  | Standards |  | Peak Areas | ppm CH4
2016-07-20 | SMD_POND_5 | 12:30 | 262 | 32.7402 | 10 | 0 | 1 |  |  |  | 1000 | 1 | 7929 | 8002.4 | Peak Avg
2016-07-20 | SMD_POND_6_deep | 1:10 | 149 | 18.6194 | 10 | 0 | 1 |  |  |  | ipsch4.d | 2 | 7928 | 51.9833 | Std Dev
2016-07-20 | SMD_UP | 10:15 | 138 | 17.2448 | 10 | 0 | 1 |  |  |  | RANGE=10 | 3 | 7960 | 0.006496 | %Std Dev
2016-07-20 | SMD_POND_1 | 10:45 | 230 | 28.7414 | 10 | 0 | 1 |  |  |  |  | 4 | 7985
2016-07-20 | SMD_POND_2 | 11:10 | 162 | 20.2439 | 10 | 0 | 1 |  |  |  |  | 5 | 7985 | 0.12496 | Response Factor
2016-07-20 | SMD_POND_2_deep | 11:20 | 122 | 15.2454 | 10 | 0 | 1 |  |  |  |  | 6 | 8029
2016-07-20 | SMD_POND_3 | 11:40 | 330 | 41.2376 | 10 | 0 | 1 |  |  |  |  | 7 | 8036
2016-07-20 | SMD_POND_3_deep | 11:50 | 144 | 17.9946 | 10 | 0 | 1 |  |  |  |  | 8 | 8049
2016-07-20 | SMD_POND_4 | 12:10 | 320 | 39.988 | 10 | 0 | 1 |  |  |  |  | 9 | 8062
2016-07-20 | SMD_POND_4_deep | 12:20 | 161 | 20.119 | 10 | 0 | 1 |  |  |  |  | 10 | 8061
2016-07-20 | SMD_POND_5_deep | 12:40 | 366 | 45.7363 | 10 | 0 | 1
2016-07-20 | SMD_POND_6 | 1:00 | 331 | 41.3626 | 10 | 0 | 1
2016-07-20 | SMD_POND_7 | 1:22 | 184 | 22.9931 | 10 | 0 | 1
2016-07-20 | SMD_POND_7_deep | 1:30 | 106 | 13.246 | 10 | 0 | 1
2016-07-20 | SMD_POND_8 | 1:50 | 308 | 38.4885 | 10 | 0 | 1
2016-07-20 | SMD_POND_8_deep | 2:00 | 154 | 19.2442 | 10 | 0 | 1
2016-07-20 | SMD_POND_9 |  | 519 | 64.8555 | 10 | 0 | 1 |  |  |  | Standards |  | Peak Areas | ppm CH4
2016-07-20 | SMD_POND_9_deep |  | 275 | 34.3647 | 10 | 0 | 1 |  |  |  | 1000 | 1 | 7929 | 8002.4 | Peak Avg
2016-07-20 | SMD_POND_10 | 2:40 | 610 | 76.2271 | 10 | 0 | 1 |  |  |  | ipsch4.d | 2 | 7928 | 51.9833 | Std Dev
2016-07-20 | SMD_POND_10_deep | 2:45 | 228 | 28.4915 | 10 | 0 | 1 |  |  |  | RANGE=10 | 3 | 7960 | 0.006496 | %Std Dev
2016-07-20 | SMD_OUT | 3:10 | 244 | 30.4909 | 10 | 0 | 1 |  |  |  |  | 4 | 7985
2016-07-20 | SMD_DOWN | 3:20 | 210 | 26.2421 | 10 | 0 | 1 |  |  |  |  | 5 | 7985 | 0.12496 | Response Factor
[12 empty] | 6 | 8029
[12 empty] | 7 | 8036
[12 empty] | 8 | 8049
[12 empty] | 9 | 8062
[12 empty] | 10 | 8061
2016-07-26 | PD_UP | 11:35 | 13751 | 1682.9441 | 10 |  |  |  | Samples run at range 1 |  | Standards |  | Peak Areas | ppm CH4
2016-07-26 | SMD_UP | 12:30 | 13077 | 1600.4553 | 10 |  |  |  | Standards run at range 10^2 |  | 1000 | 1 | 8119 | 8170.8 | Peak Avg
2016-07-26 | SMD_OUT | 14:00 | 7573 | 926.837 | 10 | [5 empty] | ipsch4.d | 2 | 8134 | 25.0058 | Std Dev
2016-07-26 | SMD_DOWN | 14:15 | 5186 | 634.6992 | 10 | [5 empty] | RANGE=1 | 3 | 8183 | 0.0030604 | %Std Dev
2016-07-26 | ID_UP | 15:15 | 18913 | 2314.706 | 10 | [5 empty] | Range 1 for samples | 4 | 8183
2016-07-26 | ID_UP | 15:45 | 13901 | 1701.3022 | 10 | [6 empty] | 5 | 8162 | 0.12239 | Response Factor
[12 empty] | 6 | 8181
[12 empty] | 7 | 8191
[12 empty] | 8 | 8190
[12 empty] | 9 | 8188
[12 empty] | 10 | 8177
2016-07-26 | PD | 11:00 | 1654 | 202.4282 | 10 |  |  |  | Samples were run at range 10 |  | Standards |  | Peak Areas | ppm CH4
2016-07-26 | WB | 11:20 | 2134 | 261.1739 | 10 |  |  |  | Standards run at range 10^2 |  | 1000 | 1 | 8119 | 8170.8 | Peak Avg
2016-07-26 | SMD_SIDE | 13:10 | 7944 | 972.2426 | 10 | [5 empty] | ipsch4.d | 2 | 8134 | 25.0058 | Std Dev
2016-07-26 | MR | 16:00 | 4733 | 579.2578 | 10 | [5 empty] | RANGE=10 | 3 | 8183 | 0.0030604 | %Std Dev
[11 empty] | Range 10 for samples | 4 | 8183
[12 empty] | 5 | 8162 | 0.12239 | Response Factor
[12 empty] | 6 | 8181
[12 empty] | 7 | 8191
[12 empty] | 8 | 8190
[12 empty] | 9 | 8188
[12 empty] | 10 | 8177
2016-08-10 | PD | 9:30 | 1201 | 146.9868 | 10 | 0 |  |  | Sample run at range 10 |  | Standards |  | Peak Areas | ppm CH4 |  | Standards |  | Peak Areas | ppm CH4
2016-08-10 | WB | 9:45 | 2306 | 282.2245 | 10 | 0 |  |  | Sample run at range 10 |  | 1000 | 1 | 8245 | 8300.5 | Peak Avg | 2.51 | 1 | 2062 | 1989.2 | Peak Avg
2016-08-10 | PD_UP | 10:00 | 461 | 56.4204 | 10 | 0 |  |  | Sample run at range 10 |  | ipsch4.d | 2 | 8249 | 28.5239 | Std Dev | ipsch4.d | 2 | 2067 | 42.8636 | Std Dev
2016-08-10 | SMD_UP | 10:45 | 976 | 119.4497 | 10 | 0 |  |  | Sample run at range 10 |  | RANGE=10^2 | 3 | 8313 | 0.0034364 | %Std Dev | RANGE=1 | 3 | 1989 | 0.021548 | %Std Dev
2016-08-10 | SMD_SIDE | 11:15 | 1362 | 166.6911 | 10 | 0 |  |  | Sample run at range 10 |  |  | 4 | 8312 |  |  |  | 4 | 1989
2016-08-10 | SMD_OUT | 11:25 | 471 | 57.6443 | 10 | 0 |  |  | Sample run at range 10 |  |  | 5 | 8312 | 0.12047 | Response Factor |  | 5 | 1998 | 0.0012618 | Response Factor
2016-08-10 | SMD_DOWN | 11:35 | 958 | 117.2468 | 10 | 0 |  |  | Sample run at range 10 |  |  | 6 | 8316 |  |  |  | 6 | 1955
2016-08-10 | ID_UP | 12:25 | 1962 | 240.1234 | 10 | 0 |  |  | Sample run at range 10 |  |  | 7 | 8308 |  |  |  | 7 | 1959
2016-08-10 | ID_UP | 12:50 | 691 | 84.5694 | 10 | 0 |  |  | Sample run at range 10 |  |  | 8 | 8311 |  |  |  | 8 | 1962
2016-08-10 | MR | 13:05 | 1126 | 137.8078 | 10 | 0 |  |  | Sample run at range 10^2 |  |  | 9 | 8324 |  |  |  | 9 | 1953
[12 empty] | 10 | 8315 |  |  |  | 10 | 1958
2016-05-26 | CCBP_OUT | 9:30 | 313 | 38.3071 |  |  |  |  | Sample run at range 10 |  | Standards |  | Peak Areas | ppm CH4 |  | Standards |  | Peak Areas | ppm CH4
2016-05-26 | CCBP_SIDE | 9:45 | 610 | 74.6561 |  |  |  |  | Sample run at range 10 |  | 1000 | 1 | 8245 | 8300.5 | Peak Avg | 2.51 | 1 | 2062 | 1989.2 | Peak Avg
2016-05-26 | CCBP_UP_3 | 10:00 | 343 | 41.9788 |  |  |  |  | Sample run at range 10 |  | ipsch4.d | 2 | 8249 | 28.5239 | Std Dev | ipsch4.d | 2 | 2067 | 42.8636 | Std Dev
2016-05-26 | CCBP_UP_2 | 10:15 | 439 | 53.7279 |  |  |  |  | Sample run at range 10 |  | RANGE=10^2 | 3 | 8313 | 0.0034364 | %Std Dev | RANGE=1 | 3 | 1989 | 0.021548 | %Std Dev
2016-05-26 | CCBP_UP_1 | 10:20 | 857 | 104.8857 |  |  |  |  | Sample run at range 10^2 |  |  | 4 | 8312 |  |  |  | 4 | 1989
2016-05-26 | CC | 10:45 | 959 | 117.3692 |  |  |  |  | Sample run at range 10 |  |  | 5 | 8312 | 0.12047 | Response Factor |  | 5 | 1998 | 0.0012618 | Response Factor
2016-05-26 | PD | 11:15 | 494 | 60.4592 |  |  |  |  | Sample run at range 10 |  |  | 6 | 8316 |  |  |  | 6 | 1955
2016-05-26 | WB | 11:25 | 1675 | 204.9983 |  |  |  |  | Sample run at range 10 |  |  | 7 | 8308 |  |  |  | 7 | 1959
2016-05-26 | SMD_SIDE | 12:40 | 355 | 43.4474 |  |  |  |  | Sample run at range 10^2 |  |  | 8 | 8311 |  |  |  | 8 | 1962
2016-05-26 | SMD_OUT | 13:00 | 879 | 107.5782 |  |  |  |  | Sample run at range 10 |  |  | 9 | 8324 |  |  |  | 9 | 1953
2016-05-26 | SMD_DOWN | 13:25 | 384 | 46.9966 |  |  |  |  | Sample run at range 10 |  |  | 10 | 8315 |  |  |  | 10 | 1958
2016-05-26 | SMD_UP | 13:45 | 746 | 91.3007 |  |  |  |  | Sample run at range 10
2016-05-26 | ID_UP | 14:55 | 661 | 80.8978 |  |  |  |  | Sample run at range 10
2016-05-26 | ID_UP | 15:30 | 848 | 103.7842 |  |  |  |  | Sample run at range 10
2016-05-26 | MR | 15:45 | 898 | 109.9036 |  |  |  |  | Sample run at range 10
2016-07-14 | PD | 9:50 | 1130 | 138.2974 | 10 | 10
2016-07-14 | WB | 10:05 | 2047 | 250.5263 | 10 | 10 |  |  |  |  | Standards |  | Peak Areas | ppm CH4 |  | Standards |  | Peak Areas | ppm CH4
2016-07-14 | PD_UP | 10:25 | 1971 | 241.2248 | 10 | 10 |  |  |  |  | 1000 | 1 | 77436 | 80253.8 | Peak Avg | 2.51 | 1 | 266 | 391 | Peak Avg
2016-07-14 | SMD_UP | 11:05 | 1006 | 123.1214 | 10 | 10 |  |  |  |  | ipsch4.d | 2 | 77583 | 1470.9889 | Std Dev | ipsch4.d | 2 | 269 | 562.2303 | Std Dev
2016-07-14 | SMD_SIDE | 11:30 | 5977 | 731.5073 | 10 | 10 | [5 empty] | 3 | 80680 | 0.018329 | %Std Dev | RANGE=10 | 3 | 198 | 1.4379 | %Std Dev
2016-07-14 | SMD_OUT | 11:40 | 1069 | 130.8317 | 10 | 10 |  |  |  |  | Range=10 | 4 | 80802 |  |  |  | 4 | 201
2016-07-14 | SMD_DOWN | 11:55 | 412 | 50.4235 | 10 | 10 | [5 empty] | 5 | 80644 | 0.01246 | Response Factor |  | 5 | 204 | 0.0064194 | Response Factor
2016-07-14 | ID_UP | 12:55 | 1468 | 179.6642 | 10 | 10 | [5 empty] | 6 | 81069 |  |  |  | 6 | 196
2016-07-14 | ID | 13:25 | 1642 | 200.9595 | 10 | 10 | [5 empty] | 7 | 81045 |  |  |  | 7 | 196
2016-07-14 | MR | 13:40 | 5479 | 670.5586 | 10 | 10 | [5 empty] | 8 | 80602 |  |  |  | 8 | 1989
[12 empty] | 9 | 81368 |  |  |  | 9 | 194
[12 empty] | 10 | 81309 |  |  |  | 10 | 197
|  |  |  | 0 | [6 empty] | Standards |  | Peak Areas | ppm CH4 |  | Standards |  | Peak Areas | ppm CH4
|  |  |  | 0 | [6 empty] | 1000 | 1 |  | #DIV/0! | Peak Avg | 2.51 | 1 |  | #DIV/0! | Peak Avg
|  |  |  | 0 | [6 empty] | ipsch4.d | 2 |  | #DIV/0! | Std Dev | ipsch4.d | 2 |  | #DIV/0! | Std Dev
|  |  |  | 0 | [6 empty] | RANGE=10^2 | 3 |  | #DIV/0! | %Std Dev | RANGE=1 | 3 |  | #DIV/0! | %Std Dev
|  |  |  | 0 | [7 empty] | 4 |  |  |  |  | 4
|  |  |  | 0 | [7 empty] | 5 |  | #DIV/0! | Response Factor |  | 5 |  | #DIV/0! | Response Factor
[12 empty] | 6 |  |  |  |  | 6
[12 empty] | 7 |  |  |  |  | 7
[12 empty] | 8 |  |  |  |  | 8
[12 empty] | 9 |  |  |  |  | 9
[12 empty] | 10 |  |  |  |  | 10

## CO2
Sample Date | Sample Name | Time | Sample Volume (mL) | CO2 Area Curve | MicroMol of C Added | DIC (mM) | Notes
2016-07-24 | SMD | not listed | 1 | 1534.5 | 0.3442 | 0.3442 | y = 0.0002x + 0.0373
2015-07-24 | SMD_DOWN | not listed | 1 | 1116 | 0.2605 | 0.2605
2014-07-24 | SMD_UP | not listed | 1 | 550.13 | 0.14733 | 0.14733
2013-07-24 | ID_UP | not listed | 1 | 1253.7 | 0.28804 | 0.28804
2012-07-24 | ID | not listed | 1 | 552.67 | 0.14783 | 0.14783
2011-07-24 | MR | not listed | 1 | 1498 | 0.3369 | 0.3369
2016-08-07 | MR | Not Listed | 1 | 899.77 | 0.21815 | 0.21815 | y = 0.0002x + 0.0382
2016-08-07 | ID | Not Listed | 1 | 1247 | 0.2876 | 0.2876 | no sample date - only date processed
2016-08-07 | ID_UP | Not Listed | 1 | 1118.3 | 0.26186 | 0.26186
2016-08-07 | SMD_DOWN | Not Listed | 1 | 1049.2 | 0.24804 | 0.24804
2016-08-07 | SMD | Not Listed | 1 | 713.63 | 0.18093 | 0.18093
2016-08-07 | SMD_UP | Not Listed | 1 | 1059.6 | 0.25012 | 0.25012
2015-08-20 | SMD | 10:45 | 1 | 1451.6 | 0.32842 | 0.32842 | y = 0.0002x + 0.0381
2015-08-20 | SMD | 12:08 | 1 | 1218.1 | 0.28172 | 0.28172
2015-08-20 | MD2 | 12:25 | 1 | 1446.6 | 0.32742 | 0.32742
2015-08-20 | MBD1 | 13:13 | 1 | 1295 | 0.2971 | 0.2971
2015-08-20 | MBD1 | 13:44 | 1 | 1258.9 | 0.28988 | 0.28988
2015-08-20 | MBD1 | 14:13 | 1 | 1099.1 | 0.25792 | 0.25792
2015-08-20 | BD1 | 15:13 | 1 | 1464.6 | 0.33102 | 0.33102
2015-08-20 | BD1 | 15:04 | 1 | 1048.9 | 0.24788 | 0.24788
2015-08-20 | MBD1 | 16:15 | 1 | 1057.9 | 0.24968 | 0.24968
2015-08-20 | CC_POND_OUT | 16:30 | 1 | 1128.6 | 0.26382 | 0.26382
2015-08-20 | CC_TRIB_2 | 17:33 | 1 | 627.31 | 0.16356 | 0.16356
2015-08-20 | CC_LTER | 17:55 | 1 | 955.96 | 0.22929 | 0.22929
2015-08-19 | SMD | 10:42 | 1 | 1067.1 | 0.25152 | 0.25152
2015-08-19 | SMD | 11:18 | 0.5 | 138.01 | 0.065702 | 0.1314
2015-08-19 | SMD | 11:52 | 0.7 | 986.5 | 0.2354 | 0.33629
2015-08-19 | SMD | 12:09 | 1 | 1806.9 | 0.39948 | 0.39948
2015-08-19 | SMD | 12:42 | 1 | 1432.9 | 0.32468 | 0.32468
2015-08-19 | SMD | 13:05 | 1 | 1410.3 | 0.32016 | 0.32016
2015-08-19 | SMD | 13:23 | 1 | 2076.8 | 0.45346 | 0.45346
2015-08-19 | SMD | 13:54 | 1 | 1557.6 | 0.34962 | 0.34962
2015-08-19 | SMD | 14:07 | 1 | 1603.3 | 0.35876 | 0.35876
2015-08-19 | SMD_UP | 14:55 | 1 | 1989.8 | 0.43606 | 0.43606
2015-08-19 | SMD DOWN | 18:00 | 1 | 1478.5 | 0.3338 | 0.3338
2015-08-19 | SMD_OUT | Not Listed | 1 | 1634.3 | 0.36496 | 0.36496
2015-10-02 | SMD_SIDE | 10:45 | 5 | 7021.3 | 1.3901 | 0.27801 | y = 0.0002x - 0.0142
2015-10-02 | SMD_OUT | 12:00 | 3 | 4144.3 | 0.81466 | 0.27155
2015-10-02 | SMD_DOWN | 12:30 | 2 | 2197.9 | 0.42538 | 0.21269
2015-10-02 | SMD_UP | 13:00 | 1 | 1360.3 | 0.25786 | 0.25786
2015-10-02 | ID_UP | 13:50 | 1 | 1482.7 | 0.28234 | 0.28234
2015-10-02 | ID | 14:10 | 1 | 1784.2 | 0.34264 | 0.34264
2015-10-02 | MR | 14:25 | 1 | 1493.9 | 0.28458 | 0.28458
2015-10-02 | CBP_OUT | 15:15 | 1 | 1298.5 | 0.2455 | 0.2455
2015-10-02 | BP_SIDE | 15:30 | 1 | 1299 | 0.2456 | 0.2456
2015-10-02 | CCBP_UP2 | 15:55 | 1 | 2049.5 | 0.3957 | 0.3957
2015-10-02 | CCBP_UP1 | 16:05 | 1 | 830.02 | 0.1518 | 0.1518
2015-10-02 | CC | 16:25 | 1 | 1134.4 | 0.21268 | 0.21268
2015-10-14 | CCBP_OUT | 10:45 | 1 | 1012.3 | 0.18826 | 0.18826 | y = 0.0002x - 0.0142
2015-10-14 | CCBP_SIDE | 11:15 | 1 | 1391.9 | 0.26418 | 0.26418 | same standards as 10/2/15 samples
2015-10-14 | CCBP_UP_3 | 11:30 | 1 | 934.52 | 0.1727 | 0.1727
2015-10-14 | CCBP_UP_2 | 11:45 | 1 | 1938.6 | 0.37352 | 0.37352
2015-10-14 | CCBP_UP_1 | 12:00 | 1 | 851.64 | 0.15613 | 0.15613
2015-10-14 | CC | 12:15 | 1 | 1489.9 | 0.28378 | 0.28378
2015-10-14 | SMD_SIDE | 13:15 | 1 | 1593.8 | 0.30456 | 0.30456
2015-10-14 | SMD_OUT | 14:45 | 1 | 1307 | 0.2472 | 0.2472
2015-10-14 | SMD_DOWN | 15:00 | 1 | 1037.2 | 0.19324 | 0.19324
2015-10-14 | SMD_UP | 15:15 | 1 | 1457.6 | 0.27732 | 0.27732
2015-10-14 | ID_UP | 16:10 | 1 | 1144.1 | 0.21462 | 0.21462
2015-10-14 | ID | 16:30 | 1 | 1211.9 | 0.22818 | 0.22818
2015-10-14 | MR | 16:45 | 1 | 1297.4 | 0.24528 | 0.24528
2015-10-28 | CCBP_OUT | 10:00 | 1 | 1269 | 0.28 | 0.28 | y = 0.0002x + 0.0262
2015-10-28 | CCBP_SIDE | 10:15 | 1 | 1532 | 0.3326 | 0.3326
2015-10-28 | CCBP_UP_3 | 10:30 | 1 | 2189.9 | 0.46418 | 0.46418
2015-10-28 | CCBP_UP_2 | 10:45 | 1 | 3002.9 | 0.62678 | 0.62678
2015-10-28 | CCBP_UP_1 | 10:55 | 1 | 1496.8 | 0.32556 | 0.32556
2015-10-28 | CC | 11:15 | 1 | 2438.1 | 0.51382 | 0.51382
2015-10-28 | SMD_SIDE | 12:15 | 1 | 2661.3 | 0.55846 | 0.55846
2015-10-28 | SMD_OUT | 12:35 | 1 | 1940.6 | 0.41432 | 0.41432
2015-10-28 | SMD_DOWN | 12:50 | 1 | 1884.8 | 0.40316 | 0.40316
2015-10-28 | SMD_UP | 13:15 | 1 | 2492.8 | 0.52476 | 0.52476
2015-10-28 | ID_UP | 14:10 | 1 | 2403.9 | 0.50698 | 0.50698
2015-10-28 | ID | 14:40 | 1 | 978.44 | 0.22189 | 0.22189
2015-10-28 | MR | 14:55 | 1 | 2226 | 0.4714 | 0.4714
2015-11-18 | CBP_OUT | 10:15 | 5 | 5502.3 | 1.1027 | 0.22053 | y = 0.0002x + 0.0022
2015-11-18 | BP_SIDE | 10:30 | 5 | 7662.4 | 1.5347 | 0.30694
2015-11-18 | CCBP_UP3 | 10:45 | 5 | 5902.3 | 1.1827 | 0.23653
2015-11-18 | CCBP_UP2 | 11:00 | 1 | 1507.9 | 0.30378 | 0.30378
2015-11-18 | CCBP_UP1 | 11:10 | 1 | 670.95 | 0.13639 | 0.13639
2015-11-18 | CC | 11:25 | 1 | 1224.1 | 0.24702 | 0.24702
2015-11-18 | SMD_SIDE | 12:25 | 1 | 1222.8 | 0.24676 | 0.24676
2015-11-18 | SMD_OUT | 13:35 | 1 | 1020.7 | 0.20634 | 0.20634
2015-11-18 | SMD_DOWN | 12:55 | 1 | 984.37 | 0.19907 | 0.19907
2015-11-18 | SMD_UP | 13:15 | 1 | 1004.8 | 0.20316 | 0.20316
2015-11-18 | ID_UP | 14:05 | 1 | 1287.8 | 0.25976 | 0.25976
2015-11-18 | ID | 14:40 | 1 | 1291.6 | 0.26052 | 0.26052
2015-11-18 | MR | 14:55 | 1 | 1083.4 | 0.21888 | 0.21888
2016-03-09 | CCBP_OUT | 9:30 | 1 | 820.81 | 0.16316 | 0.16316 | y = 0.0002x - 0.001
2016-03-09 | CCBP_SIDE | 9:45 | 1 | 1134.9 | 0.22598 | 0.22598
2016-03-09 | CCBP_UP_3 | 10:05 | 1 | 1297.7 | 0.25854 | 0.25854
2016-03-09 | CCBP_UP_2 | 10:15 | 1 | 1256.5 | 0.2503 | 0.2503
2016-03-09 | CCBP_UP_1 | 10:20 | 1 | 996.62 | 0.19832 | 0.19832
2016-03-09 | CC | 10:45 | 1 | 925.3 | 0.18406 | 0.18406
2016-03-09 | PD | 11:05 | 1 | 1185.2 | 0.23604 | 0.23604
2016-03-09 | PD_UP | 11:30 | 1 | 1069.1 | 0.21282 | 0.21282
2016-03-09 | WB | 11:20 | 1 | 1351.7 | 0.26934 | 0.26934
2016-03-09 | SMD_SIDE | 12:30 | 1 | 1157.9 | 0.23058 | 0.23058
2016-03-09 | SMD_OUT | 12:45 | 1 | 1017.4 | 0.20248 | 0.20248
2016-03-09 | SMD_DOWN | 13:20 | 1 | 1051.8 | 0.20936 | 0.20936
2016-03-09 | SMD_UP | 13:45 | 1 | 895.28 | 0.17806 | 0.17806
2016-03-09 | ID_UP | 14:35 | 1 | 937.4 | 0.18648 | 0.18648
2016-03-09 | ID | 15:00 | 1 | 1063.7 | 0.21174 | 0.21174
2016-03-09 | MR | 15:15 | 1 | 436.73 | 0.086346 | 0.086346
2016-06-09 | CCBP_UP_2 | 10:45 | 5 | 7240.7 | 1.4535 | 0.29071 | y=0.0002x+0.0054
2016-06-09 | CC | 11:20 | 5 | 6778.6 | 1.3611 | 0.27222
2016-06-09 | ID_UP | 15:05 | 3 | 6419 | 1.2892 | 0.42973
2016-06-09 | MR | 16:00 | 1 | 1901 | 0.3856 | 0.3856
2016-06-09 | SMD_DOWN | 13:45 | 1 | 1325.2 | 0.27044 | 0.27044
2016-06-09 | SMD_UP | 14:05 | 1 | 973.39 | 0.20008 | 0.20008
2016-06-09 | SMD_OUT | 13:10 | 1 | 1426.5 | 0.2907 | 0.2907
2016-06-09 | CCBP_UP_1 | 11:00 | 1 | 1070.4 | 0.21948 | 0.21948
2016-06-09 | PD | 11:45 | 1 | 1700.8 | 0.34556 | 0.34556
2016-06-09 | SMD_SIDE | 13:30 | 1 | 1416.7 | 0.28874 | 0.28874
2016-06-09 | ID | 15:45 | 1 | 1598.9 | 0.32518 | 0.32518
2016-06-09 | CCBP_OUT | 9:50 | 1 | 1273.8 | 0.26016 | 0.26016
2016-06-09 | CCBP_SIDE | 10:05 | 1 | 1187.8 | 0.24296 | 0.24296
| WB | 12:00 | 1 | 1713.9 | 0.34818 | 0.34818
| PD_UP | 12:15 | 1 | 1539.9 | 0.31338 | 0.31338
| CCBP_UP_3 | 10:25 | 1 | 1440.8 | 0.29356 | 0.29356
2016-06-21 | SMD_UP | 11:40 | 3 | 6349.6 | 1.2725 | 0.42417 | y = 0.0002x + 0.0026
2016-06-21 | SMD_POND_7_deep | 15:36 | 1 | 3024 | 0.6074 | 0.6074
2016-06-21 | SMD_POND_1_deep | 12:35 | 1 | 1345 | 0.2716 | 0.2716
2016-06-21 | SMD_POND_2_deep | 13:25 | 1 | 2497.2 | 0.50204 | 0.50204
2016-06-21 | SMD_POND_6 | 15:10 | 1 | 2244.4 | 0.45148 | 0.45148
2016-06-21 | SMD_POND_8_deep | 16:00 | 1 | 2307 | 0.464 | 0.464
2016-06-21 | SMD_POND_6_deep | 15:15 | 1 | 3757.8 | 0.75416 | 0.75416
2016-06-21 | SMD_POND_2 | 13:15 | 1 | 1725.1 | 0.34762 | 0.34762
2016-06-21 | SMD_POND_5 | 14:45 | 1 | 1522.9 | 0.30718 | 0.30718
2016-06-21 | SMD_POND_1 | 12:20 | 1 | 1470.8 | 0.29676 | 0.29676
2016-06-21 | SMD_POND_3 | 13:42 | 1 | 1842.5 | 0.3711 | 0.3711
2016-06-21 | SMD_POND_3_deep | 13:50 | 1 | 2532.7 | 0.50914 | 0.50914
2016-06-21 | SMD_POND_5_deep | 14:50 | 1 | 2586.6 | 0.51992 | 0.51992
2016-06-21 | SMD_POND_9_deep | 16:17 | 1 | 1965.2 | 0.39564 | 0.39564
2016-06-21 | SMD_POND_10 | 16:40 | 1 | 1981.9 | 0.39898 | 0.39898
2016-06-21 | SMD_POND_4 | 14:15 | 1 | 1167.4 | 0.23608 | 0.23608
2016-06-21 | SMD_POND_4_deep | 14:20 | 1 | 2014 | 0.4054 | 0.4054
2016-06-21 | SMD_POND_9 | 16:17 | 1 | 1997.4 | 0.40208 | 0.40208
2016-06-21 | SMD_OUT | 17:05 | 1 | 1981.5 | 0.3989 | 0.3989
2016-06-21 | SMD_POND_7 | 15:30 | 1 | 1608.6 | 0.32432 | 0.32432
2016-06-21 | SMD_POND_10_deep | 16:40 | 1 | 2639.9 | 0.53058 | 0.53058
2016-07-07 | CCBP_4 | 11:15 | 3 | 5781.6 | 1.7454 | 0.58179 | y = 0.0003x + 0.0109
2016-07-07 | CCBP_5 | 12:00 | 3 | 7893.5 | 2.3789 | 0.79298
2016-07-07 | CCBP_6 | 12:35 | 1 | 1380.1 | 0.42493 | 0.42493
2016-07-07 | CCBP_1 | 10:00 | 1 | 1901.9 | 0.58147 | 0.58147
2016-07-07 | CCBP_UP_2 | 11:40 | 1 | 3770.8 | 1.1421 | 1.1421
2016-07-07 | CCBP_3 | 10:45 | 1 | 2565.7 | 0.78061 | 0.78061
2016-07-07 | CCBP_2 | 10:20 | 1 | 875.52 | 0.27356 | 0.27356
2016-07-07 | CCBP_OUT | 9:35 | 1 | 3226.2 | 0.97876 | 0.97876
2016-07-15 | PD | 9:50 | 1 | 2092.9 | 0.42828 | 0.42828 | y = 0.0002x + 0.0097
2016-07-15 | SMD_OUT | 11:40 | 1 | 1864.4 | 0.38258 | 0.38258
2016-07-15 | SMD_UP | 11:05 | 1 | 2071.7 | 0.42404 | 0.42404
2016-07-15 | WB | 10:05 | 1 | 3174.7 | 0.64464 | 0.64464
2016-07-15 | PD_UP | 10:25 | 1 | 2235.5 | 0.4568 | 0.4568
2016-07-15 | SMD_DOWN | 11:55 | 1 | 2024.2 | 0.41454 | 0.41454
2016-07-15 | SMD_SIDE | 11:30 | 1 | 2137.5 | 0.4372 | 0.4372
2016-07-15 | ID_UP | 12:55 | 1 | 2636 | 0.5369 | 0.5369
2016-07-15 | ID | 13:25 | 1 | 2573 | 0.5243 | 0.5243
2016-07-15 | MR | 13:40 | 1 | 3365.9 | 0.68288 | 0.68288
2016-07-20 | SMD_UP | 10:15 | 3 | 7062.8 | 1.4243 | 0.47475 | y = 0.0002x + 0.0117
2016-07-20 | SMD_POND_1 | 10:45 | 1 | 2004.5 | 0.4126 | 0.4126
2016-07-20 | SMD_POND_1_deep | 10:55 | 1 | 2249.6 | 0.46162 | 0.46162
2016-07-20 | SMD_POND_2 | 11:10 | 1 | 1456.9 | 0.30308 | 0.30308
2016-07-20 | SMD_POND_2_deep | 11:20 | 1 | 2723.1 | 0.55632 | 0.55632
2016-07-20 | SMD_POND_3 | 11:40 | 1 | 1987.2 | 0.40914 | 0.40914
2016-07-20 | SMD_POND_3_deep | 11:50 | 1 | 2199.1 | 0.45152 | 0.45152
2016-07-20 | SMD_POND_4 | 12:10 | 1 | 2387.2 | 0.48914 | 0.48914
2016-07-20 | SMD_POND_4_deep | 12:20 | 1 | 2847.5 | 0.5812 | 0.5812
2016-07-20 | SMD_POND_5 | 12:30 | 1 | 1865 | 0.3847 | 0.3847
2016-07-20 | SMD_POND_5_deep | 12:40 | 1 | 2573.5 | 0.5264 | 0.5264
2016-07-20 | SMD_POND_6 | 1:00 | 1 | 3461.6 | 0.70402 | 0.70402
2016-07-20 | SMD_POND_6_deep | 1:10 | 1 | 2764.2 | 0.56454 | 0.56454
2016-07-20 | SMD_POND_7 | 1:22 | 1 | 2281.5 | 0.468 | 0.468
2016-07-20 | SMD_POND_7_deep | 1:30 | 1 | 3338.5 | 0.6794 | 0.6794
2016-07-20 | SMD_POND_8 | 1:50 | 1 | 2708.9 | 0.55348 | 0.55348
2016-07-20 | SMD_POND_8_deep | 2:00 | 1 | 2278.8 | 0.46746 | 0.46746
2016-07-20 | SMD_POND_9 | 2:15 | 1 | 2243.9 | 0.46048 | 0.46048
2016-07-20 | SMD_POND_9_deep | 2:22 | 1 | 3677.9 | 0.74728 | 0.74728
2016-07-20 | SMD_POND_10 | 2:40 | 1 | 2562.8 | 0.52426 | 0.52426
2016-07-20 | SMD_POND_10_deep | 2:45 | 1 | 2671.5 | 0.546 | 0.546
2016-07-20 | SMD_OUT | 3:10 | 1 | 2382.7 | 0.48824 | 0.48824
2016-07-20 | SMD_DOWN | 3:15 | 1 | 2059.8 | 0.42366 | 0.42366
2016-07-26 | PD | 11:00 | 1 | 994.95 | 0.20029 | 0.20029 | y = 0.0002x + 0.0013
2016-07-26 | WB | 11:20 | 1 | 3137 | 0.6371 | 0.6371
2016-07-26 | PD_UP | 11:35 | 1 | 2370.8 | 0.48386 | 0.48386
2016-07-26 | SMD_UP | 12:30 | 1 | 2219.7 | 0.45364 | 0.45364
2016-07-26 | SMD_SIDE | 13:10 | 1 | 2459.1 | 0.50152 | 0.50152
2016-07-26 | SMD_OUT | 14:00 | 1 | 1216.9 | 0.25308 | 0.25308
2016-07-26 | SMD_DOWN | 14:15 | 1 | 2025 | 0.4147 | 0.4147
2016-07-26 | ID_UP | 15:15 | 1 | 2451.1 | 0.49992 | 0.49992
2016-07-26 | ID_UP | 15:45 | 1 | 1434.1 | 0.29652 | 0.29652
2016-07-26 | MR | 16:00 | 1 | 39.91 | 0.017682 | 0.017682
2016-08-10 | PD | 9:30 | 1 | 2577.2 | 0.51704 | 0.51704 | y = 0.0002x + 0.0016
2016-08-10 | WB | 9:45 | 1 | 2747.1 | 0.55102 | 0.55102
2016-08-10 | PD_UP | 10:00 | 1 | 2347.3 | 0.47106 | 0.47106
2016-08-10 | SMD_UP | 10:45 | 1 | 1663.8 | 0.33436 | 0.33436
2016-08-10 | SMD_SIDE | 11:15 | 1 | 2206.3 | 0.44286 | 0.44286
2016-08-10 | SMD_OUT | 11:25 | 1 | 1582.7 | 0.31814 | 0.31814
2016-08-10 | SMD_DOWN | 11:35 | 1 | 620.18 | 0.12564 | 0.12564
2016-08-10 | ID_UP | 12:25 | 1 | 2240.4 | 0.44968 | 0.44968
2016-08-10 | ID | 12:50 | 1 | 1622.4 | 0.32608 | 0.32608
2016-08-10 | MR | 13:05 | 1 | 1152.7 | 0.23214 | 0.23214
2016-05-26 | CCBP_OUT | 9:30 | 1 | 684.97 | 0.13859 | 0.13859 | y = 0.0002x + 0.0016
2016-05-26 | CCBP_SIDE | 9:45 | 1 | 940.08 | 0.18962 | 0.18962
2016-05-26 | CCBP_UP_3 | 10:00 | 1 | 743.19 | 0.15024 | 0.15024
2016-05-26 | CCBP_UP_2 | 10:15 | 1 | 1205.7 | 0.24274 | 0.24274
2016-05-26 | CCBP_UP_1 | 10:20 | 1 | 828.49 | 0.1673 | 0.1673
2016-05-26 | CC | 10:45 | 1 | 778.09 | 0.15722 | 0.15722
2016-05-26 | PD | 11:15 | 1 | 1554.7 | 0.31254 | 0.31254
2016-05-26 | WB | 11:25 | 1 | 1253.8 | 0.25236 | 0.25236
2016-05-26 | PD_UP | 11:45 | 1 | 1120 | 0.2256 | 0.2256
2016-05-26 | SMD_SIDE | 12:40 | 1 | 1357.6 | 0.27312 | 0.27312
2016-05-26 | SMD_OUT | 13:00 | 1 | 1426.5 | 0.2869 | 0.2869
2016-05-26 | SMD_DOWN | 13:25 | 1 | 1356 | 0.2728 | 0.2728
2016-05-26 | SMD_UP | 13:45 | 1 | 1444.7 | 0.29054 | 0.29054
2016-05-26 | ID_UP | 14:55 | 1 | 1696.4 | 0.34088 | 0.34088
2016-05-26 | ID | 15:30 | 1 | 1199.3 | 0.24146 | 0.24146
2016-05-26 | MR | 15:45 | 1 | 1434.7 | 0.28854 | 0.28854

## CO2 Standard Curves
Standards 150724
Volume | Area | Mass of C Injected | Temp (°C) | 20
1 | 135.3533 | 0.040246 | Pressure (atm) | 0.98692
3 | 501.07 | 0.12074 | Cppm (ppm) | 980.9
5 | 896.1067 | 0.20123
7 | 1283.1333 | 0.28172 | Cµmol/mL | 0.040246
10 | 1856.4667 | 0.40246
15 | 3292.2 | 0.60368
Standards 150817
Volume | Area | Mass of C Injected | Temp (°C) | 21
1 | 138.77 | 0.040189 | Pressure (atm) | 0.9889
3 | 539.6533 | 0.12057 | Cppm (ppm) | 980.9
5 | 884.38 | 0.20095
7 | 1265.2667 | 0.28132 | Cµmol/mL | 0.040189
10 | 1796.9 | 0.40189
15 | 3315.5333 | 0.60284
Standards 150821
Volume | Area | Mass of C Injected | Temp (°C) | 22.5
1 | 138.77 | 0.040105 | Pressure (atm) | 0.99186
3 | 539.6533 | 0.12031 | Cppm (ppm) | 980.9
5 | 884.38 | 0.20052
7 | 1265.2667 | 0.28073 | Cµmol/mL | 0.040105
10 | 1796.9 | 0.40105
15 | 3315.5333 | 0.60157
Standards 151002
Volume | Area | Mass of C Injected | Temp (°C) | 21.5
1 | 181.4467 | 0.039961 | Pressure (atm) | 0.98495
3 | 605.4233 | 0.11988 | Cppm (ppm) | 980.9
5 | 1075.8333 | 0.1998
7 | 1419.6 | 0.27972 | Cµmol/mL | 0.039961
10 | 1866.2 | 0.39961
15 | 2795.3333 | 0.59941
Standards 151014
Volume | Area | Mass of C Injected | Temp (°C) | 21.5
1 | 181.4467 | 0.039961 | Pressure (atm) | 0.98495
3 | 605.4233 | 0.11988 | Cppm (ppm) | 980.9
5 | 1075.8333 | 0.1998
7 | 1419.6 | 0.27972 | Cµmol/mL | 0.039961
10 | 1866.2 | 0.39961
15 | 2795.3333 | 0.59941
Standards 151028
Volume | Area | Mass of C Injected | Temp (°C) | 22.5
1 | 77.697 | 0.040264 | Pressure (atm) | 0.99581
3 | 527.1 | 0.12079 | Cppm (ppm) | 980.9
5 | 1056 | 0.20132
7 | 1493.3 | 0.28185 | Cµmol/mL | 0.040264
10 | 2170.9 | 0.40264
Standards 151118
Volume | Area | Mass of C Injected | Temp (°C) | 23
1 | 225.01 | 0.040435 | Pressure (atm) | 1.0017
3 | 703.46 | 0.12131 | Cppm (ppm) | 980.9
5 | 1225.5 | 0.20218
7 | 1639.8 | 0.28305 | Cµmol/mL | 0.040435
10 | 2402.1 | 0.40435
Standards 160311
Volume | Area | Mass of C Injected | Temp (°C) | 23
1 | 240.58 | 0.040157 | Pressure (atm) | 0.99482
3 | 703.85 | 0.12047 | Cppm (ppm) | 980.9
5 | 1089.1 | 0.20078
7 | 1688.7 | 0.2811 | Cµmol/mL | 0.040157
10 | 2264 | 0.40157
Standards 160610
Volume | Area | Mass of C injected | Air Temp (C) | 23
1 | 153.64 | 0.039854 | Pressure (kpa) | 0.98732
3 | 534.78 | 0.11956 | Cppm (ppm) | 980.9
5 | 947.7 | 0.19927
7 | 1262.2 | 0.27898 | Cµmol/L | 0.039854
10 | 1850 | 0.39854
check values and units!!!!
Standards 160621
Volume | Area | Mass of C injected | Air Temp (C) | 23
1 | 161.98 | 0.040245 | Pressure (kpa) | 0.997
3 | 538.64 | 0.12073 | Cppm (ppm) | 980.9
5 | 987.51 | 0.20122
7 | 1315.2 | 0.28171 | Cµmol/L | 0.040245
10 | 1857.2 | 0.40245
Standards 160707
Volume | Area | Mass of C injected | Air Temp (C) | 22.5
1 | 68.313 | 0.040245 | Pressure (atm) | 0.989
3 | 551.43 | 0.12073 | Cppm (ppm) | 980.9
5 | 663.34 | 0.20122
7 | 1128.4 | 0.28171 | Cµmol/L | 0.039989
10 | 1483 | 0.40245
Standards 160715
Volume | Area | Mass of C injected | Air Temp (C) | 23.5
1 | 135.12 | 0.040245 | Pressure (kpa) | 1.001
3 | 521.46 | 0.12073 | Cppm (ppm) | 980.9
5 | 873.26 | 0.20122
7 | 1064.8 | 0.28171 | Cµmol/L | 0.040338
10 | 1754.5 | 0.40245
Standards 160720
Volume | Area | Mass of C injected | Air Temp (C) | 20
1 | 166.4 | 0.040245 | Pressure (ATM) | 0.99975
3 | 491.83 | 0.12073 | Cppm (ppm) | 980.9
5 | 767.82 | 0.20122
7 | 1299 | 0.28171 | Cµmol/L | 0.040769
10 | 1752.8 | 0.40245
Standards 150724 | 160727
Volume | Area | Mass of C Injected | Temp (°C) | 21.5
1 | 170.42 | 0.040201 | Pressure (atm) | 0.99087
3 | 540.87 | 0.1206 | Cppm (ppm) | 980.9
5 | 904.66 | 0.201
7 | 1244.8 | 0.28141 | Cµmol/mL | 0.040201
10 | 1802.2 | 0.40201
Standards 150724 | 160811
Volume | Area | Mass of C Injected | Temp (°C) | 23
1 | 151.75 | 0.040077 | Pressure (atm) | 0.99284
3 | 543.09 | 0.12023 | Cppm (ppm) | 980.9
5 | 889.26 | 0.20038
7 | 1235.07 | 0.28054 | Cµmol/mL | 0.040077
10 | 1758 | 0.40077

## N2O
Sample Date | Sample Name | Time | Sample Volume (mL) | N2O Area Curve | Concentration | Notes
2015-08-19 | SMD | 10:42 | 7 | 21278 | #DIV/0! | one std is in ppb (638.3) converted to ppm (divide by 1000) and also divided peak areas by 1000 for that standard, everything else was in ppm | Standards |  | Peak Areas | ppm N2O
2015-08-19 | SMD | 11:18 | 5 | 23018 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-08-19 | SMD | 11:52 | 10 | 20527 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-08-19 | SMD | 12:09 | 9 | 19872 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-08-19 | SMD | 12:42 | 9 | 21743 | #DIV/0! |  |  | 4
2015-08-19 | SMD | 13:05 | 10 | 20275 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-08-19 | SMD | 13:23 | 6 | 24573 | #DIV/0! |  |  | 6
2015-08-19 | SMD | 13:54 | 9 | 25370 | #DIV/0! |  |  | 7
2015-08-19 | SMD | 14:07 | 6 |  | #DIV/0! | no peak |  | 8
2015-08-19 | SMD_UP | 14:55 | 9 | 25554 | #DIV/0! |  |  | 9
2015-08-19 | SMD_DOWN | 18:00 | 10 | 23364 | #DIV/0! |  |  | 10
2015-08-19 | SMD_OUT | not listed | 8 | 20666 | #DIV/0!
[7 empty] | Standards |  | Peak Areas | ppm N2O
2015-08-20 | SMD | 10:45 | 10 | 18778 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-08-20 | SMD | 12:08 | 10 | 17329 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-08-20 | MD_2 | 12:25 | 10 | 16365 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-08-20 | MBD_1 | 13:13 | 10 | 16223 | #DIV/0! |  |  | 4
2015-08-20 | MBD_1 | 13:44 | 10 | 16285 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-08-20 | MBD_1 | 14:13 | 10 | 16449 | #DIV/0! |  |  | 6
2015-08-20 | BD_1 | 15:04 | 10 | 20102 | #DIV/0! |  |  | 7
2015-08-20 | BD_1 | 15:13 | 10 | 18001 | #DIV/0! |  |  | 8
2015-08-20 | MBD_1 | 16:15 | 10 | 0 | #DIV/0! | no peak |  | 9
2015-08-20 | CC-POND_OUT | 16:30 | 10 | 20212 | #DIV/0! |  |  | 10
2015-08-20 | CC_TRIB_2 | 17:33 | 10 | 22523 | #DIV/0!
2015-08-20 | CC_LTER | 17:55 | 10 | 23249 | #DIV/0!
2015-09-16 | SMD_UP | 13:15 | 10 | 19744 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-09-16 | SMD_OUT | 13:30 | 10 | 19982 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-09-16 | SMD_DOWN | 13:40 | 10 | 21253 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-09-16 | ID_UP | 14:40 | 10 | 24975 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-09-16 | ID | 15:00 | 10 | 26538 | #DIV/0! |  |  | 4
2015-09-16 | MR | 15:15 | 10 | 21395 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
6
7
8
9
10
2015-10-02 | SMD_SIDE | 10:45 | 10 | 328563 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-10-02 | SMD_OUT | 12:00 | 10 | 335424 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-10-02 | SMD_DOWN | 12:30 | 10 | 338681 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-10-02 | SMD_UP | 13:00 | 10 | 342094 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-10-02 | ID_UP | 13:50 | 10 | 342361 | #DIV/0! |  |  | 4
2015-10-02 | ID_UP | 14:10 | 10 | 362467 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-10-02 | MR | 14:25 | 10 | 351471 | #DIV/0! |  |  | 6
2015-10-02 | CBP_OUT | 15:15 | 10 | 313594 | #DIV/0! |  |  | 7
2015-10-02 | BP_SIDE | 15:30 | 10 | 320296 | #DIV/0! |  |  | 8
2015-10-02 | CCBP_UP2 | 15:55 | 10 | 38408 | #DIV/0! |  |  | 9
2015-10-02 | CCBP_UP1 | 16:05 | 10 | 28315 | #DIV/0! |  |  | 10
2015-10-02 | CC | 16:25 | 10 | 23930 | #DIV/0!
#DIV/0!
2015-10-02 | SMD_SIDE | 10:45 | 10 | 328563 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-10-02 | SMD_OUT | 12:00 | 10 | 335424 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-10-02 | SMD_DOWN | 12:30 | 10 | 338681 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-10-02 | SMD_UP | 13:00 | 10 | 342094 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-10-02 | ID_UP | 13:50 | 10 | 342361 | #DIV/0! |  |  | 4
2015-10-02 | ID | 14:10 | 10 | 362467 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-10-02 | MR | 14:25 | 10 | 351471 | #DIV/0! |  |  | 6
2015-10-02 | CBP_OUT | 15:15 | 10 | 313594 | #DIV/0! |  |  | 7
2015-10-02 | BP_SIDE | 15:30 | 10 | 320296 | #DIV/0! |  |  | 8
2015-10-02 | CCBP_UP2 | 15:55 | 10 | 38408 | #DIV/0! |  |  | 9
2015-10-02 | CCBP_UP1 | 16:05 | 10 | 28315 | #DIV/0! |  |  | 10
2015-10-02 | CC | 16:25 | 10 | 23930 | #DIV/0!
Could not run dilutions - not enough sample left
2015-10-14 | CCBP_OUT | 10:45 | 10 | 30275 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-10-14 | CCBP_SIDE | 11:15 | 10 | 29307000 | #DIV/0! | Flat peak |  | 1 |  | #DIV/0! | Peak Avg
2015-10-14 | CCBP_UP_3 | 11:30 | 10 | 76222 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-10-14 | CCBP_UP_2 | 11:45 | 10 | 22550 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-10-14 | CCBP_UP_1 | 12:00 | 10 | 24996 | #DIV/0! |  |  | 4
2015-10-14 | CC | 12:15 | 10 | 73479000 | #DIV/0! | Flat peak |  | 5 |  | #DIV/0! | Response Factor
2015-10-14 | SMD_SIDE | 13:15 | 10 | 762346 | #DIV/0! | Flat peak |  | 6
2015-10-14 | SMD_OUT | 14:45 | 10 | 23210 | #DIV/0! |  |  | 7
2015-10-14 | SMD_DOWN | 15:00 | 10 | 980321 | #DIV/0! | Flat peak |  | 8
2015-10-14 | SMD_UP | 15:15 | 10 | 73990000 | #DIV/0! | Flat peak |  | 9
2015-10-14 | ID_UP | 16:10 | 10 | 117261 | #DIV/0! |  |  | 10
2015-10-14 | ID | 16:30 | 10 | 19448 | #DIV/0!
2015-10-14 | MR | 16:45 | 10 | 23820500 | #DIV/0! | Flat peak
2015-10-02 | SMD_SIDE | 10:45 | 10 | 328563 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-10-02 | SMD_OUT | 12:00 | 10 | 335424 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-10-02 | SMD_DOWN | 12:30 | 10 | 338681 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-10-02 | SMD_UP | 13:00 | 10 | 342094 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-10-02 | ID_UP | 13:50 | 10 | 342361 | #DIV/0! |  |  | 4
2015-10-02 | ID | 14:10 | 10 | 362467 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-10-02 | MR | 14:25 | 10 | 351471 | #DIV/0! |  |  | 6
2015-10-02 | CBP_OUT | 15:15 | 10 | 313594 | #DIV/0! |  |  | 7
2015-10-02 | BP_SIDE | 15:30 | 10 | 320296 | #DIV/0! |  |  | 8
2015-10-02 | CCBP_UP2 | 15:55 | 10 | 38408 | #DIV/0! |  |  | 9
2015-10-02 | CCBP_UP1 | 16:05 | 10 | 28315 | #DIV/0! |  |  | 10
2015-10-02 | CC | 16:25 | 10 | 23930 | #DIV/0!
2015-10-28 | CCBP_OUT | 10:00 | 10 | 17909 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-10-28 | CCBP_SIDE | 10:15 | 10 | 31901 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-10-28 | CCBP_UP_3 | 10:30 | 10 | 31296 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-10-28 | CCBP_UP_2 | 10:45 | 10 | 21690 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-10-28 | CCBP_UP_1 | 10:55 | 10 | 21674 | #DIV/0! |  |  | 4
2015-10-28 | CC | 11:15 | 10 | 24036 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-10-28 | SMD_SIDE | 12:15 | 10 | 24003 | #DIV/0! |  |  | 6
2015-10-28 | SMD_OUT | 12:35 | 10 | 24941 | #DIV/0! |  |  | 7
2015-10-28 | SMD_DOWN | 12:50 | 10 | 22357 | #DIV/0! |  |  | 8
2015-10-28 | SMD_UP | 13:15 | 10 | 30835 | #DIV/0! |  |  | 9
2015-10-28 | ID_UP | 14:10 | 10 | 27557 | #DIV/0! |  |  | 10
2015-10-28 | ID | 14:40 | 10 | 28403 | #DIV/0!
2015-10-28 | MR | 14:55 | 10 | 21565 | #DIV/0!
2015-11-18 | CCBP_OUT | 10:15 | 10 | 18577 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2015-11-18 | CCBP_SIDE | 10:30 | 10 | 17342 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2015-11-18 | CCBP_UP_3 | 10:45 | 10 | 21643 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2015-11-18 | CCBP_UP_2 | 11:00 | 10 | 15961 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2015-11-18 | CCBP_UP_1 | 11:10 | 10 | 18849 | #DIV/0! |  |  | 4
2015-11-18 | CC | 11:25 | 10 | 20056 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2015-11-18 | SMD_SIDE | 12:25 | 10 | 11635 | #DIV/0! |  |  | 6
2015-11-18 | SMD_OUT | 12:35 | 10 | 15217 | #DIV/0! |  |  | 7
2015-11-18 | SMD_DOWN | 12:55 | 10 | 18624 | #DIV/0! |  |  | 8
2015-11-18 | SMD_UP | 13:15 | 10 | 26586 | #DIV/0! |  |  | 9
2015-11-18 | ID_UP | 14:05 | 10 | 18427 | #DIV/0! |  |  | 10
2015-11-18 | ID | 14:40 | 10 | 23676 | #DIV/0!
2015-11-18 | MR | 14:55 | 10 | 2399470 | #DIV/0! | Flat peak (no sample left cannot dilute)
2016-03-09 | 9:30 |  | 10 | 22832 | #DIV/0!
2016-03-09 | 9:45 |  | 10 | 16791 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2016-03-09 | 10:05 |  | 10 | 15835 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2016-03-09 | 10:15 |  | 10 | 19945 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2016-03-09 | 10:20 |  | 10 | 26776 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-03-09 | 10:45 |  | 10 | 36751 | #DIV/0! |  |  | 4
2016-03-09 | 11:05 |  | 10 | 37166 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2016-03-09 | 11:20 |  | 10 | 35756 | #DIV/0! |  |  | 6
2016-03-09 | 11:30 |  | 10 | 30958 | #DIV/0! |  |  | 7
2016-03-09 | 12:30 |  | 10 | 25467 | #DIV/0! |  |  | 8
2016-03-09 | 12:45 |  | 10 | 22822 | #DIV/0! |  |  | 9
2016-03-09 | 13:20 |  | 10 | 23439 | #DIV/0! |  |  | 10
2016-03-09 | 13:45 |  | 10 | 30247 | #DIV/0!
2016-03-09 | 14:35 |  | 10 | 37081 | #DIV/0!
2016-03-09 | 15:00 |  | 10 | 36519 | #DIV/0!
2016-03-09 | 15:15 |  | 10 | 36182 | #DIV/0!
2016-06-09 | CCBP_OUT | 9:50 | 10 | 18249 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2016-06-09 | CCBP_SIDE | 10:05 | 10 | 15746 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2016-06-09 | CCBP_UP_3 | 10:25 | 10 | 23068 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2016-06-09 | CCBP_UP_2 | 10:45 | 10 | 15367 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-06-09 | CCBP_UP_1 | 11:00 | 10 | 16792 | #DIV/0! |  |  | 4
2016-06-09 | CC | 11:20 | 10 | 21850 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2016-06-09 | PD | 11:45 | 10 | 34406 | #DIV/0! |  |  | 6
2016-06-09 | WB | 12:00 | 10 | 45016 | #DIV/0! |  |  | 7
2016-06-09 | PD_UP | 12:15 | 10 | 29796 | #DIV/0! |  |  | 8
2016-06-09 | SMD_SIDE | 13:30 | 10 | 29472 | #DIV/0! |  |  | 9
2016-06-09 | SMD_OUT | 13:10 | 10 | 2202 | #DIV/0! |  |  | 10
2016-06-09 | SMD_DOWN | 13:45 | 10 | 22543 | #DIV/0!
2016-06-09 | SMD_UP | 14:05 | 10 | 30099 | #DIV/0!
2016-06-09 | ID_UP | 15:05 | 10 | 20432 | #DIV/0!
2016-06-09 | ID | 15:45 | 10 | 21871 | #DIV/0!
2016-06-09 | MR | 16:00 | 10 | 16729 | #DIV/0!
2016-06-20 | SMD_OUT | 17:05 | 10 | 19688 |  |  | Standards |  | Peak Areas | ppm N2O
2016-06-20 | SMD_POND_9_deep | 16:17 | 10 | 21176 |  |  |  | 1 |  | #DIV/0! | Peak Avg
2016-06-20 | SMD_POND_3_deep | 13:50 | 10 | 22586 |  |  |  | 2 |  | #DIV/0! | Std Dev
2016-06-20 | SMD_POND_10 | 16:40 | 10 | 24254 |  |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-06-20 | SMD_POND_8 | 16:00 | 10 | 20308 |  |  |  | 4
2016-06-20 | SMD_POND_9 | 16:17 | 10 | 19257 |  |  |  | 5 |  | #DIV/0! | Response Factor
2016-06-20 | SMD_POND_10_deep | 16:40 | 10 | 15671 |  |  |  | 6
2016-06-20 | SMD_POND_5_deep | 14:50 | 10 | 20097 |  |  |  | 7
2016-06-20 | SMD_DOWN | 17:25 | 10 | 19996 |  |  |  | 8
2016-06-20 | SMD_POND_6_deep | 15:15 | 10 | 21472 |  |  |  | 9
2016-06-20 | SMD_POND_1 | 12:20 | 10 | 21181 |  |  |  | 10
2016-06-20 | SMD_POND_8_deep | 16:10 | 10 | 18579
2016-06-20 | SMD_POND_7 | 15:30 | 10 | 24455
2016-06-20 | SMD_POND_5 | 14:45 | 10 | 24633
2016-06-20 | SMD_UP | 11:40 | 10 | 15872
2016-06-20 | SMD_POND_2_deep | 13:25 | 10 | 23983
2016-06-20 | SMD_POND_4_deep | 14:20 | 10 | 23566
2016-06-20 | SMD_POND_7_deep | 15:36 | 10 | 20536
2016-06-20 | SMD_POND_1_deep | 12:36 | 10 | 22876
2016-06-20 | SMD_POND_2 | 13:15 | 10 | 17452
2016-06-20 | SMD_POND_3 | 13:42 | 10 | 23962
2016-06-20 | SMD_POND_6 | 15:10 | 10 | 22588
2016-06-20 | SMD_POND_4 | 14:15 | 10 | 24417
2016-07-06 | CCBP_OUT | 9:35 | 10 | 36813 |  |  | Standards |  | Peak Areas | ppm N2O
2016-07-06 | CCBP_3 | 10:45 | 10 | 21868 |  |  |  | 1 |  | #DIV/0! | Peak Avg
2016-07-06 | CCBP_2 | 10:20 | 10 | 29189 |  |  |  | 2 |  | #DIV/0! | Std Dev
2016-07-06 | CCBP_UP_2 | 11:40 | 10 | 16869 |  |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-07-06 | CCBP_4 | 11:15 | 10 | 20265 |  |  |  | 4
2016-07-06 | CCBP_5 | 12:00 | 10 | 13996 |  |  |  | 5 |  | #DIV/0! | Response Factor
2016-07-06 | CCBP_6 | 12:35 | 10 | 14555 |  |  |  | 6
2016-07-06 | CCBP_1 | 10:00 | 10 | 16787 |  |  |  | 7
[5 empty] | 0 |  |  | 8
[5 empty] | 0 |  |  | 9
[5 empty] | 0 |  |  | 10
0
0
0
0
0
2016-07-14 | PD | 9:50 | 10 | 39242 |  |  | Standards |  | Peak Areas | ppm N2O
2016-07-14 | WB | 10:05 | 10 | 101883 |  |  |  | 1 |  | #DIV/0! | Peak Avg
2016-07-14 | PD_UP | 10:25 | 10 | 76200 |  |  |  | 2 |  | #DIV/0! | Std Dev
2016-07-14 | SMD_SIDE | 11:30 | 10 | 28761 |  |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-07-14 | SMD_OUT | 11:40 | 10 | 22067 |  |  |  | 4
2016-07-14 | SMD_DOWN | 11:55 | 10 | 25177 |  |  |  | 5 |  | #DIV/0! | Response Factor
2016-07-14 | SMD_UP | 11:05 | 10 | 35494 |  |  |  | 6
2016-07-14 | ID_UP | 12:55 | 10 | 32035 |  |  |  | 7
2016-07-14 | ID | 13:25 | 10 | 26216 |  |  |  | 8
2016-07-14 | MR | 13:40 | 10 | 20349 |  |  |  | 9
[5 empty] | 0 |  |  | 10
0
0
0
0
0
2016-07-19 | SMD_POND_2 | 11:10 | 10 | 459402 |  |  | Standards |  | Peak Areas | ppm N2O
2016-07-19 | SMD_POND_9_deep | 2:22 | 10 | 35116 |  |  |  | 1 |  | #DIV/0! | Peak Avg
2016-07-19 | SMD_POND_7_deep | 1:30 | 10 | 26710 |  |  |  | 2 |  | #DIV/0! | Std Dev
2016-07-19 | SMD_POND_3_deep | 11:50 | 10 | 118753 |  |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-07-19 | SMD_POND_1_deep | 10:55 | 10 | 28581 |  |  |  | 4
2016-07-19 | SMD_UP | 10:15 | 10 | 29526 |  |  |  | 5 |  | #DIV/0! | Response Factor
2016-07-19 | SMD_POND_6_deep | 1:10 | 10 | 22781 |  |  |  | 6
2016-07-19 | SMD_POND_5 | 12:30 | 10 | 27272 |  |  |  | 7
2016-07-19 | SMD_DOWN | 3:15 | 10 | 26456 |  |  |  | 8
2016-07-19 | SMD_POND_4_deep | 12:20 | 10 | 20451 |  |  |  | 9
2016-07-19 | SMD_POND_4 | 12:10 | 10 | 22919 |  |  |  | 10
2016-07-19 | SMD_POND_8 | 1:50 | 10 | 20203
2016-07-19 | SMD_POND_2_deep | 11:20 | 10 | 19294
2016-07-19 | SMD_POND_1 | 10:45 | 10 | 23427
2016-07-19 | SMD_POND_5_deep | 12:40 | 10 | 21920
2016-07-19 | SMD_POND_7 | 1:22 | 10 | 18676
2016-07-19 | SMD_POND_3 | 11:40 | 10 | 20387
2016-07-19 | SMD_POND_6 | 1:00 | 10 | 21878
2016-07-19 | SMD_POND_8_deep | 2:00 | 10 | 19873
2016-07-19 | SMD_POND_9 | 2:15 | 10 | 20205 |  |  | Standards |  | Peak Areas | ppm N2O
2016-07-19 | SMD_POND_10_deep | 2:45 | 10 | 20772 |  |  |  | 1 |  | #DIV/0! | Peak Avg
2016-07-19 | SMD_POND_10 | 2:40 | 10 | 20558 |  |  |  | 2 |  | #DIV/0! | Std Dev
2016-07-19 | SMD_OUT | 3:10 | 10 | 19647 |  |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
[5 empty] | 0 |  |  | 4
[5 empty] | 0 |  |  | 5 |  | #DIV/0! | Response Factor
[5 empty] | 0 |  |  | 6
[5 empty] | 0 |  |  | 7
[5 empty] | 0 |  |  | 8
[5 empty] | 0 |  |  | 9
[5 empty] | 0 |  |  | 10
0
0
0
0
0
2016-08-11 | PD | 9:30 | 10 | 61848 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2016-08-11 | WB | 9:45 | 10 | 80450 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2016-08-11 | PD_UP | 10:00 | 10 | 94411 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2016-08-11 | SMD_UP | 10:45 | 10 | 34116 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-08-11 | SMD_SIDE | 11:15 | 10 | 26085 | #DIV/0! |  |  | 4
2016-08-11 | SMD_SIDE | 11:15 | 10 | 24509 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2016-08-11 | SMD_OUT | 11:25 | 10 | 29298 | #DIV/0! |  |  | 6
2016-08-11 | SMD_DOWN | 11:35 | 10 | 28381 | #DIV/0! |  |  | 7
2016-08-11 | ID_UP | 12:25 | 10 | 30664 | #DIV/0! |  |  | 8
2016-08-11 | ID | 12:50 | 10 | 26305 | #DIV/0! |  |  | 9
2016-08-11 | MR | 13:05 | 10 | 31458 | #DIV/0! |  |  | 10
2016-08-11 | MR | 13:05 | 10 | 32843 | #DIV/0!
2016-05-06 | CCBP_OUT | 9:30 | 10 | 24625 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2016-05-06 | CCBP_SIDE | 9:45 | 10 | 25636 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2016-05-06 | CCBP_UP_3 | 10:00 | 10 | 23933 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2016-05-06 | CCBP_UP_2 | 10:15 | 10 | 25416 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-05-06 | CCBP_UP_1 | 10:20 | 10 | 21822 | #DIV/0! |  |  | 4
2016-05-06 | CC | 10:45 | 10 | 26453 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2016-05-06 | PD | 11:15 | 10 | 34024 | #DIV/0! |  |  | 6
2016-05-06 | WB | 11:25 | 10 | 34664 | #DIV/0! |  |  | 7
2016-05-06 | WB | 11:25 | 10 | 39574 | #DIV/0! |  |  | 8
2016-05-06 | PD_UP | 11:45 | 10 | 27171 | #DIV/0! |  |  | 9
2016-05-06 | SMD_SIDE | 12:40 | 10 | 26862 | #DIV/0! |  |  | 10
2016-05-06 | SMD_OUT | 13:00 | 10 | 31668 | #DIV/0!
2016-05-06 | SMD_DOWN | 13:25 | 10 | 30315 | #DIV/0!
2016-05-06 | SMD_UP | 13:45 | 10 | 30188 | #DIV/0!
2016-05-06 | ID_UP | 14:55 | 10 | 27309 | #DIV/0!
2016-05-06 | ID | 15:30 | 10 | 27721 | #DIV/0!
2016-05-06 | MR | 15:45 | 10 | 27538 | #DIV/0!
2016-05-06 | MR | 15:45 | 10 | 27330 | #DIV/0!
2016-07-26 | PD | 11:00 | 10 | 21426 | #DIV/0! |  | Standards |  | Peak Areas | ppm N2O
2016-07-26 | WB | 11:20 | 10 | 58351 | #DIV/0! |  |  | 1 |  | #DIV/0! | Peak Avg
2016-07-26 | PD_UP | 11:35 | 10 | 59200 | #DIV/0! |  |  | 2 |  | #DIV/0! | Std Dev
2016-07-26 | SMD_UP | 12:30 | 10 | 22182 | #DIV/0! |  | RANGE= | 3 |  | #DIV/0! | %Std Dev
2016-07-26 | SMD_SIDE | 13:10 | 10 | 17180 | #DIV/0! |  |  | 4
2016-07-26 | SMD_OUT | 14:00 | 10 | 20464 | #DIV/0! |  |  | 5 |  | #DIV/0! | Response Factor
2016-07-26 | SMD_DOWN | 14:15 | 10 | 23639 | #DIV/0! |  |  | 6
2016-07-26 | ID_UP | 15:15 | 10 | 23875 | #DIV/0! |  |  | 7
2016-07-26 | ID_UP | 15:45 | 10 | 28976 | #DIV/0! |  |  | 8
2016-07-26 | MR | 16:00 | 10 | 17160 | #DIV/0! |  |  | 9
2016-07-26 | MR | 16:00 | 10 | 17012 | #DIV/0! |  |  | 10

## N2O Standard Curves
Standards 150819 |  |  | Air Temp (C) | 22.5
320ppm | 25317600 |  | Pressure (hpa) | 1005
320ppm | 26729900
320ppm | 26971100
638ppb | 35677 | 35.677 | ppm
638ppb | 35683 | 35.683 | ppm
638ppb | 35493 | 35.493 | ppm
1.98ppm | 93881
1.98ppm | 94043
1.98ppm | 92217
Standards 150820 |  |  | Air Temp (C) | 22.5
320ppm | 25317600 |  | Pressure (hpa) | 1005
320ppm | 26729900
320ppm | 26971100
638ppb | 35677 | 35.677 | ppm
638ppb | 35683 | 35.683 | ppm
638ppb | 35493 | 35.493 | ppm
1.98ppm | 93881
1.98ppm | 94043
1.98ppm | 92217
Standards 150916 |  |  | Air Temp (C) | 21
320ppm | 24017400 |  | Pressure (hpa) | 1009
320ppm | 26041300
320ppm | 25925100
638ppb | 83038 | 83.038 | ppm
638ppb | 53051 | 53.051 | ppm
638ppb | 46879 | 46.879 | ppm
1.98ppm | 93884
1.98ppm | 99104
1.98ppm | 98330
Standards 151002 |  |  | Air Temp (C) | 22
320ppm | 26854500 |  | Pressure (hpa) | 1007
320ppm | 25104100
320ppm | 25360200
638ppb | 63525 | 63.525 | ppm
638ppb | 64943 | 64.943 | ppm
638ppb | 67034 | 67.034 | ppm
1.98ppm | 92135
1.98ppm | 104020
1.98ppm | 103512
Standards 151014 |  |  | Air Temp (C) | 22
320ppm | 26854500 |  | Pressure (hpa) | 1007
320ppm | 25104100
320ppm | 25360200
638ppb | 63525 | 63.525 | ppm
638ppb | 64943 | 64.943 | ppm
638ppb | 67034 | 67.034 | ppm
1.98ppm | 92135
1.98ppm | 104020
1.98ppm | 103512
Standards 151028 |  |  | Air Temp (C) | 21.5
320ppm | 26257000 |  | Pressure (hpa) | 999
320ppm | 26615400
320ppm | 26388800
638ppb | 89576 | 89.576 | ppm
638ppb | 65051 | 65.051 | ppm
638ppb | 61362 | 61.362 | ppm
1.98ppm | 89066
1.98ppm | 95986
1.98ppm | 95431
Standards 151118 |  |  | Air Temp (C) | 24
320ppm | 26432700 |  | Pressure (hpa) | 991
320ppm | 26959500
320ppm | 27205600
638ppb | 76486 | 76.486 | ppm
638ppb | 70252 | 70.252 | ppm
638ppb | 71301 | 71.301 | ppm
1.98ppm | 97357
1.98ppm | 104925
1.98ppm | 104340
Standards 160309 |  |  | Air Temp (C) | 22.5
320ppm | 2287711 |  | Pressure (hpa) | 1005
320ppm | 2290685
320ppm | 2278767
638ppb | 57295 | 57.295 | ppm
638ppb | 41590 | 41.59 | ppm
638ppb | 12232 | 12.232 | ppm | Confirmed value - even after manual integration - AP
1.98ppm | 61974
1.98ppm | 61829
1.98ppm | 77582
ppm - use concentration of standards
Standards 160727 |  |  | Air Temp (C) | 21
320ppm | 28957400 |  | Pressure (hpa) | 1004
320ppm | 29086900
320ppm | 2908600
638ppb | 37465 | 37.465 | ppm
638ppb | 37637 | 37.637 | ppm
638ppb | 37348 | 37.348 | ppm
1.98ppm | 101516
1.98ppm | 101115
1.98ppm | 108324
Standards 160811 |  |  | Air Temp (C) | 21
320ppm | 27662200 |  | Pressure (hpa) | 1004
320ppm | 18273000
320ppm | 16893200
638ppb | 35558 | 35.558 | ppm
638ppb | 30249 | 30.249 | ppm
638ppb | 29587 | 29.587 | ppm
1.98ppm | 98230
1.98ppm | 68268
1.98ppm | 64785